CITY OF HUNTSVILLE

HIGH PILED STORAGE

PLAN SUBMITTAL CHECKLIST

Plan Submittal: IFC Section 2301.3

The following is a list of information that is required on all plan submittals for review of a high piled storage installation. The applicant is required to submit all of this information so an accurate and timely review may be done. Plans must be signed and sealed by the design professional in responsible charge.

- Floor plan of the building showing locations and dimensions of high-piled storage areas

- Useable storage height for each storage area

- Number of tiers within each rack, if applicable

- Commodity clearance between top of storage and the sprinkler deflector for each storage arrangement

- Aisle dimensions between each storage array

- Maximum pile volume for each storage array

- Location and classification of commodities in accordance with Section 2303

- Location of commodities which are banned or encapsulated

- Location of required fire department access doors

- Type of fire-suppression and fire-detection systems

- Location of valves controlling the water supply of ceiling and in-rack sprinklers

- Type, location, and specifications of smoke-removal and curtain board systems

- Dimension and location of transverse and longitudinal flue spaces

- Additional information regarding required design features, commodities, storage arrangement and fire protection features within the high-piled storage area shall be provided at the time of the permit