CITY OF HUNTSVILLE

RE-ROOF

PLAN SUBMITTAL CHECKLIST

Information Required for Plan Check:

- What is the estimated project valuation?

- What is the type of roof? Check appropriate box below:

  - Asphalt Shingles

  - Metal

  - Tile

  - Flat Roofs

    - Modified Bitumen System

    - TPO System

    - Other:

- Manufacturer specifications with installation instructions must be included

- If above roof insulation is to be replaced, provide the “R” value to be used

- Re-roofs must comply with Section C402.3 of the 2015 IECC. Documentation shall be provided to demonstrate compliance with Table C402.3 of the 2015 IECC

- Section C402.3 requires roofs to comply with one of the options of Table C402.3. The options are either in compliance with the first line of the table or with the second line of the table. Each option specifies through the appropriate footnotes how products need to be tested to demonstrate the solar reflectance, thermal emittance and solar reflectance index, respectively. The footnotes provide options with respect to the testing standard. Footnote (a0, provides default values if roofing products have not been tested for 3 years. Roofing products are to be labeled with the results of their testing

Note: This list has been prepared as a tool for submitting a complete re-roof permit application package. In no way does this list represent all submittal documents that may be required to demonstrate compliance with local codes and ordinances. Delays in the permit process will occur as a result of incomplete or inadequate submittal information.

This checklist and documentation must be submitted with the application for the re-roof permit, the attached Affidavit must be completed and submitted prior to the final inspection.

CITY OF HUNTSVILLE

RE-ROOF

AFFIDAVIT

PROJECT/ PERMIT NO.:

| Roofing Contractor: | Phone: |
| --- | --- |
| Address: | Fax: |
| City and State: | Zip: |
| Email: |  |

AFFIDAVIT: I certify that all work has been performed under my supervision and in accordance with all state and local building codes/ laws, and manufacturer specifications. The information contained in this form is true and correct to the best of my knowledge.

SIGNATURE OF ROOFING CONTRACTOR: